## Elecstor Fan Bundle

## USB Foldable Fan + Elecstor 18W Mini DC UPS (8000mAh | 25Wh | PoE)

## Stay cool and powered during load shedding or on the go with the Elecstor Fan Bundle. This bundle combines a compact USB foldable fan with the Elecstor 18W Mini DC UPS, ensuring reliable airflow and power when you need it most.

## USB Foldable Fan

## Product Features:

- Fashionable, compact, and portable design suitable for multiple use scenarios

- Powered via USB connection (PC, laptop, or compatible power adapter)

- Low-interference motor for smooth, quiet operation and extended lifespan

- Single-speed operation with maximum airflow (no built-in battery)

## Product Specifications:

- Product Name: USB Foldable Fan

- Material: PP / Electronic Components

- Rated Current: 0.5–1A

- Rated Voltage: 5V

- Rated Power: 4.5W

## Important Notes:

- This fan does not contain a battery and has no charging function

- The fan must be connected to a power source to operate, such as the included Elecstor Mini DC UPS

## Warning:

- Do not insert fingers into the protective grille to avoid injury or damage

- Children under 10 years old should only use the fan under adult supervision

## Elecstor 18W Mini DC UPS (8000mAh – 25Wh)

## The Elecstor 18W Mini DC UPS is easy to install and provides reliable backup power for multiple devices during power outages. With multiple DC output voltages and a PoE port, it can power routers, fibre ONUs, and other essential devices, while also charging mobile devices via USB.

## Key Features:

- Powers routers and fibre ONUs (Optical Network Units) during outages

- USB port for charging smartphones, tablets, and digital devices

- 25Wh high-capacity LiFePO4 battery (8000mAh)

- Compatible with a wide range of networking devices

- Intelligent safety protection: over-charge, over-discharge, and short-circuit protection

- PoE port for powering supported devices via Ethernet cable

## Estimated Runtime (Single Device Connected):

- Smartphone (10W): ±2 hours

- Tablet (10W): ±2 hours

- LED Lamp (10W): ±2 hours

- Router + ONU (7W): ±3 hours

- CCTV Camera (10W): ±2 hours

- Office Phone (5W): ±4 hours

- Portable gaming devices (10W): ±2 hours

- Digital Camera (10W): ±2 hours

## Technical Specifications:

- Input Voltage: 100–240V AC

- DC Output Voltages:

  - 1 × USB 5V

  - 1 × DC 9V

  - 1 × DC 12V

  - 1 × PoE 15V / 24V

- Power Output: 18W

- Battery Capacity: 8000mAh

- Total Capacity: 25Wh

- Dimensions: 160 × 105 × 28mm

- Weight: 400g

- Charging Time: ±2 hours

## What’s in the Box:

- 1 × Elecstor 18W Mini DC UPS (8000mAh – 25Wh)

- 1 × USB Foldable Fan

- 1 × 1.5m AC Power Cable

- 1 × DC Adapter (3.5mm × 1.35mm)

- 1 × 1m DC Splitter Cable

- 1 × User Manual

## Shorten version

## Elecstor Fan Bundle – USB Foldable Fan + 18W Mini DC UPS (8000mAh | 25Wh | PoE)

## Stay cool and powered during load shedding or on the go with the Elecstor Fan Bundle. This bundle includes a USB foldable fan powered by the Elecstor 18W Mini DC UPS, providing reliable airflow and backup power when you need it most.

## Key Features:

- USB foldable fan – compact, portable, and lightweight

- Fan powered via USB (no built-in battery)

- 18W Mini DC UPS with 8000mAh (25Wh) LiFePO4 battery

- Powers routers, fibre ONUs, and USB devices

- PoE output for compatible devices

- Built-in safety protection (over-charge, over-discharge, short circuit)

## Estimated Runtime (Single Device):

- Fan / USB devices (≤10W): up to 2 hours

- Router + ONU (7W): up to 3 hours

## Specifications:

- UPS Power Output: 18W

- Battery Capacity: 8000mAh (25Wh)

- DC Outputs: USB 5V, DC 9V, DC 12V, PoE 15/24V

- Input Voltage: 100–240V AC

## What’s in the Box:

- 1 × Elecstor 18W Mini DC UPS (8000mAh – 25Wh)

- 1 × USB Foldable Fan

- Power cables and user manual

## Important Note:

- The fan has no battery and only operates when connected to a power source such as the included Mini UPS.